Experiment 4

Introduction to Operational Amplifiers

Purpose: Become sufficiently familiar with the operational amplifier (op-amp) to be able to use it with a bridge circuit output.  We will need this capability in our first project.

Equipment Required:

HP 34401A Digital Multimeter

HP 33120A 15 MHz Function / Arbitrary Waveform Generator

HP E3631A Power Supply

Protoboard

Some Resistors

741 op-amp or 1458 dual op-amp

Background

Some of the following material was taken from Introduction to the OP Amp, by John Getty of the  University of Denver at http://www.tmo.hp.com/tmo/iia/edcorner/English/Exp26.html  The interested reader is also encouraged to look over the op-amp links on the course webpage.

The schematic of Fig. 1 shows a standard ± VCC configuration for op-amps. The schematic symbols for a battery are used in this schematic to remind us that these supplies need to be a constant DC voltage. They are not signal sources.

Figure 1

The HP E3631A power supply provides two variable supplies with a common ground and a variable low voltage supply. As shown in Fig. 1, the power supply jack labeled "COM" between the VCC supplies should be connected to circuit ground.  Adjust the output so the +VCC and ­ VCC are equal, but opposite in sign, at 15 V.  It is possible to turn the output voltages off without turning off the power supply by pushing the OUTPUT ON/OFF button.   Pushing the button again returns the supply to its previous settings.  This is the approach to use when testing circuits.  However, at this point, we will turn the power supply off.   You will have to set it up again later when you connect it to your op-amp circuit.

Study the chip layout of the 741 op-amp in Fig. 2. (You may use a 1458 dual op-amp chip instead of the 741.  In that case, the chip layout will be somewhat different.  The layouts and other specs for these two chips can be found on the course website and on pages 8 and 9 of the Radio Shack Mini-Notebook on Op Amp IC Circuits.) The standard procedure on DIP (dual in-line package) "chips" is to identify pin 1 with a notch in the end of the chip package. The notch always separates pin 1 from the last pin on the chip. In the case of the 741, the notch is between pins 1 and 8.  Pin 2 is the inverting input, VN. Pin 3 is the non-inverting input, VP and the amplifier output, VO is at pin 6. These three pins are the three terminals that normally appear in an op-amp circuit schematic diagram. Even though the ±VCC connections (7 and 4) must be completed for the op-amp to work, they usually are omitted from simple circuit schematics to improve clarity.

Figure 2

The null offset pins (1 and 5) provide a way to eliminate any "offset" in the output voltage of the amplifier. The offset voltage (usually denoted by Vos) is an artifact of the integrated circuit. The offset voltage is additive with VO (pin 6 in this case), can be either positive or negative and is normally less than 10 mV. Because the off-set voltage is so small, in most cases we can ignore the contribution VOS makes to VO and we leave the null offset pins open.  Pin 8, labeled "NC", has no connection to the internal circuitry of the 741, and is not used.

Fig. 3 shows a standard op-amp configuration known as an inverting amplifier.  For this case, we have Vout = -4.7 Vin.  That is, the output voltage is equal to minus the input voltage times the ratio of the feedback resistor to the input resistor.  Feedback resistors feed the output voltage back to the inverting input.  Essentially anything that connects the output terminal of the op-amp to the inverting input terminal will provide feedback.

Figure 3

In Fig. 4 we have another op-amp configuration known as a non-inverting amplifier.  Here we have Vout ( 2 Vin.  That is, the output voltage is equal to the input voltage times one plus the ratio of the feedback resistor to the resistor connecting the inverting input to ground.

Figure 4

The more commonly used configuration is the inverting op-amp, which means that, much of the time, the output will be negative if the input is positive.

The mysterious properties of the op-amp are actually quite easy to understand.  When connected correctly, an op-amp is a circuit with a very, very large voltage gain, where voltage gain is defined as the ratio of the output voltage to the input voltage of the op-amp itself.  The input voltage is the difference between the voltage connected to the plus terminal and the voltage connected to the minus terminal.  If we call these V+ and V-, the gain is defined as

A = Vout/(V+ - V-)  ( (

Typical values for this gain can be 100,000, so it is indeed a very large number.  If the voltage at the output terminal is the order of a volt or so, then the difference between V+ and V- must be very, very small.

It is important to realize that there are two kinds of gains we will be using.  There is the gain just mentioned that characterizes the op-amp device itself.  Usually, we will not be too interested in this gain, since we will just assume that it is so big that we can assume it is infinite.  The other more useful gain is the amplification of the circuit configuration (i.e. inverting or non-inverting op-amp) in which the op-amp is used.  Unless we indicate otherwise, we will only use the word gain when we refer to the total configuration, not just the op-amp itself.  We will probably refer to the latter as the intrinsic gain.

If we connect an op-amp into either of these or other standard configurations, it will do a very good job of following what are known as the golden rules for op-amps.  There are two such rules:

First, since the voltage gain of the op-amp itself is so high, a fraction of a millivolt between the input terminals will swing the output voltage over its entire range, so we ignore that small voltage and state that

The output attempts to do whatever is necessary to make the voltage difference between the two inputs zero.

Second, op-amps draw very little input current (0.08(A for the 741; picoamps for FET-input types);  we round this off, stating that

The inputs draw no current

Apply these two rules to the circuits in Figures 3 and 4 and produce a simplified circuit with no op-amp in it.  Then analyze the circuit to show that the gains given above are correct.  Instead of using actual numbers for the resistors, label them R1 and R2 for the resistor connected to the minus input and the feedback resistor, respectively.

The inverting op-amp is more commonly used than the non-inverting op-amp.  That is why the latter amplifier has the somewhat odd name with the double negative in it.  If you look at the circuit, you will see that in the inverting op-amp, the chip is connected to ground, while in the non-inverting amplifier it is not.  This generally makes the inverting amplifier behave better.  When used as a DC amplifier, the non-inverting amp can be a poor choice, since its output voltage will be negative.  However, for AC applications, inversion does not matter since sines and cosines are positive half the time and negative half the time anyway.

If you look at the Radio Shack Mini-Notebook on Op Amp IC Circuits, you will see several other op-amp configurations.  We will study these further in a later experiment.  However, there is one particular configuration that we need to consider in depth at this time – the differential amplifier.  This amplifier is also known as the instrumentation amplifier because it is found to be an essential part of many measurement circuits.  You may recall from Experiment 2, that it was difficult to measure the  AC voltage across the output of the bridge circuit because both of the output connections had a finite DC voltage.  That meant that one could not just connect one of the ‘scope channels across the output, since one of the voltages would be shorted to ground.  The differential (instrumentation) amplifier allows us to get by this problem, since neither input is grounded.  A very large fraction of measurement circuits use some kind of a bridge configuration or are based on some kind of comparison between two voltages.  Thus, the operation of  the differential amplifier is very important to understand.

To see how this more complex amplifier configuration can amplify the difference between two voltages, we will do a PSpice simulation that includes a bridge circuit as the input.  The configuration we will consider is shown below.  Again, recall the operation of the strain gauge bridge observed previously.  There were two legs to the bridge – one consisting of a fixed resistor (R9) and the strain gauge (R8) and the other ideally consisting of a 2k potentiometer (which has been divided into the two resistors R7 and R6).  The final component in the strain gauge bridge is the 5V DC power supply (V2).  When the pot is adjusted correctly, the voltage at the node between R7 and R6 will equal the voltage at the node between R9 and R8 (both should be about 2.5 volts).  These five components represent the bridge.  Resistor R5 represents the oscilloscope input.  All the other components (R1, R2, R3, R4, V3, V4 and U1) represent the differential amplifier.

Unfortunately, it is not possible to simulate the operation of the strain gauge bridge directly using PSpice, since there is no simple way to make the resistance of the strain gauge itself oscillate with time. We can, however, add some components to the bridge to produce the kind of voltages we actually observed.  The voltage observed at the node between R9 and R8 had both a DC level of about 2.5 volts and a small AC signal that oscillated at a frequency f of about 20 Hz.  To make our simulation work, we add an additional sinusoidal voltage source in such a manner that we will be able to test our simulation experimentally.  The new circuit is shown below.  The source V1 and the resistor R10 represent a function generator (recall that our function generator has an internal resistance of 50 ohms).  We have also incorporated a capacitor in the circuit so that the DC voltage at the node between R9 and R8 is not seen by the function generator.  Recall that a capacitor is an open circuit at DC (frequency = 0), so that only AC signals can pass through it.

In summary, the two sources V1 and V2, the capacitor C1 and the five resistors R6 – R10 are used to produce a signal something like that of the output of the bridge circuit we build when we use the cantilever beam strain gauge.  V2 is a constant value of 5 volts while V1 has a sinusoidal amplitude of 100 mV at 20 Hertz  These values are chosen somewhat arbitrarily, but are typical.  The resistance values are chosen to either equal the resistances of the bridge (1k) or the output impedance of the function generator (50).  The capacitor is one of the larger ones found in your parts kit and is used to AC couple the function generator output so that it adds to the DC voltage between the two 1k resistors of the bridge circuit.  There is no function generator in the usual bridge circuit, but we use it here to give a voltage like the one that results when the strain gauge resistance varies sinusoidally.  You will likely have to change some of these numbers to use this circuit to model the actual output of your bridge, since you will have to use the actual values for the components in your circuit.  This schematic is set up to obtain a particularly simple gain.  Do the transient simulation, displaying about 4 cycles of the output and determine what this gain is.  Print out one probe plot per group and discuss why you think the output is correct.

In this circuit, you will notice that R1=R2 and R3=R4.  It is necessary that these resistors be the same or the circuit will not work properly. To see that this is indeed the case, change the values of  the resistors R2 to 1.5 k and R1 to 1k.  Print out this plot and describe what happened to the output voltage.  That is, how did this voltage change and why?  The same kind of effect obtained by unbalancing the input resistors R1 and R2 can be obtained by changing the bridge circuit.  Most likely, you used a 1k pot when you built the bridge in Experiment 2.  To see what happens when you do this, set R1 and R2 back to 1k and change R7 and R6 to 500.  Repeat the simulation, print out the plot and describe what happened to the output voltage?  What characteristic of the output voltage makes it look like what happened when the input resistances were out of balance?

Please note that our primary purpose here is to learn a little about an op-amp configuration that we can use with our cantilever beam bridge circuit output.  We will return to op-amps to look at the simpler inverting and non-inverting amplifiers more thoroughly.  However, you might want to play around a little with your PSpice simulation at this point and configure both of these circuits.  If you do, you will have to be sure that your test input voltages are not too large.  The output of an op-amp cannot exceed (VCC.  Thus, if you have an overall gain of 100, the largest input must be somewhat less than (VCC/100.  This is one of the other properties of op-amps we must take into account when we use them.  There are several others which we will introduce when necessary.

When you apply this kind of analysis to your bridge circuit, you will have to incorporate the actual resistances.  (That is why we did the exercise of changing the input resistors.)  In your project report, you will have to discuss how these resistances will affect the performance of your circuit.  Thus, it might be a good idea to think about this now and try out any ideas you might have with your partners and a TA or instructor.

Build the circuit as shown on your protoboard.  Use the function generator for V1 and R10 and one of the DC supplies for V2.  For simplicity, to not use the strain gauge.  Rather, just use a 1k resistor.  Up to this point we have assumed that the circuit will be made with a 741 op-amp. However, if your parts kit contains 1458 op-amps rather than 741 op-amps, you will have to build with what you have.  Be sure that you have your circuit checked over before you do your experimental test.  Observe the function generator output and the output of the amplifier on the scope.  Use the HP Benchlink software to print out a copy of the scope traces, but only after you show the scope traces to a TA or instructor.  They can also show you how to use this very simple software, if you have not already done so.

Report and Conclusions

What overall gain did you find for the basic differential amplifier?

Describe the most significant difference between the output of the circuit with the balanced input resistors and the output when they were unbalanced or when the bridge circuit was modified.

Describe any problems you encountered in building the amplifier circuit and what you did to solve them..

Aside from the number of op-amps in the package, find one significant difference in the specifications of the 741 and 1458 chips.  Indicate where you found this information.

Give an example of a system with negative feedback and an example of a system with positive feedback

Experiment 4

Please list the names of all group members. A TA or instructor will initial a participation box each class day you attend and participate in this experiment.  When you have completed all of the experimental and simulation activities, have a TA or instructor initial under completed.  They should also look over what you have done to be sure that your results are useful.  If you are unable to attend class for any reason, you can make up the work during an open shop time. The maximum participation grade is 5 points.

| Student Name | Participation | Participation | Completed | Date | Pts |
| --- | --- | --- | --- | --- | --- |

Please answer any questions asked above under the Report and Conclusions sections.  Also, attach any plots requested.  On each plot, describe what is being displayed and why the results make sense. Include a hand-drawn or computer drawn circuit diagram for any PSpice output or plots of measurements indicating where and how the measurements were made.  Summarize the key points of this experiment.  Discuss any problems you encountered or mistakes you made and how you addressed them.

Names:

1. ____________________________

2. ____________________________

3. ____________________________

4. ____________________________

Grade: ___________ (Out of 25)