Project 2

Acceleration Measurement

For this project, each group will investigate the acceleration of the cantilever beam by comparing the signal from a commercial grade accelerometer chip to a waveform for acceleration that you will find using the strain gauge and coil already mounted to your beam.

In this project you will be comparing the acceleration of the beam found using three different devices.

When you connect each of these devices to the scope, you get a voltage signal.  The strain gauge output is proportional to beam position, while the pickup coil output is proportional to beam velocity.  The accelerometer gives a signal proportional to the acceleration. We know that the unit of displacement is meters, m; the unit of velocity is m/s; and the units of acceleration is m/s2.  We also know that all of these signals are time dependant functions that look like decaying sinusoids.  In this project, we will take data from all three devices, calibrate them, convert all three to acceleration, and compare the results.

Part 1 of this handout discusses how to use the accelerometer chip (available from your instructor) to find the acceleration of the beam directly.  Part 2 discusses methods of using measurements taken by the strain gauge (which is proportional to the displacement of the beam) and measurements taken by the coil (which is proportional to the velocity) to derive a signal equivalent to the acceleration of the beam.  Part 3 discusses comparing the acceleration signals. Part 4 discusses some ideas for extra credit.  Appendix I contains a task list for the project.  Please note that the handout for the project (parts 1-4) contains background information that you need, but the task list provides the order in which the tasks should be performed.  Appendix II contains what your appendix for the project report should contain.  Appendix III outlines the project report.  For additional background information consult the links and spec sheets on the course links page: http://hibp.ecse.rpi.edu/~connor/education/EILinks.html#Proj2 .

Note:  Many groups end up taking their data more than once for this experiment.  It is a good idea simply to practice the first time.  Get your circuits working.  Take practice calibration measurements.  Make sure you are absolutely sure you know all the data you need to take.  Then, when you are ready, all the data can be taken in about 15 minutes under the same conditions.

Part 1 --Building an AD Accelerometer

This section discusses how to build and calibrate an accelerometer circuit that you can use to find the acceleration of the cantilever beam directly.

The Circuit

The following circuit can be used to create a signal proportional to the acceleration of the beam using a commercial accelerometer.

The accelerometer is surface mounted and, thus, cannot be plugged into a protoboard.  It also needs to be oriented vertically in order to record the acceleration of the beam.  Therefore, we have mounted the chip on what is called a surfboard.  You will have to be careful that you connect things correctly, since the surfboard has 16 pins and the accelerometer has only 14. (We do not use the two in the center).  The pin numbering is given in the figure below.

In addition, we do not have the op-amp indicated in the circuit.  We will provide you with an equivalent (actually better) op-amp from Maxim, the MAX473. We must use this much more expensive op-amp because we need the output voltage to be able to cover the entire range from the negative to the positive power supply voltages.  We call this a rail-to-rail op-amp.  We do not use an equal negative and positive voltage to provide the power source for this op-amp.  We connect it to ground and 5 volts.   As shown in the following figure, the pinout for the single op-amp chip, the MAX473, are the same as in the circuit shown in figure 15 from the ADXL150 spec sheet. The pinout for the double op-amp chip, the MAX474, are also shown below.  If you have a MAX474 chip, be careful to use the correct pins. (The circuit will still somewhat work, but it will not amplify.)  The spec sheets for the ADXL150 and the MAX473 can be found in the spec sheets for these chips located on the links page.

Obtain an accelerometer from a TA or instructor. Build the circuit.  Use a 10K resistor for R3 and a 1K resistor for R1  Be very careful with the accelerometer.  It is mechanically robust, but the surfboard is not. Also it is electrically sensitive.  If you apply the wrong voltages, you may damage it.  (Circuit components cannot be repaired).  Please have a TA or instructor check your circuit before applying power.   Mount your small protoboard to the end of the beam and test to see if your circuit is working.  The accelerometer signal will have a DC offset and it will be fairly noisy.  Where it the noise coming from?

We do not have enough accelerometer chips for all three sections.  Carefully mark your protoboard with the location of the surf board and return the accelerometer at the end of each class.  You must return the accelerometer at the end of each class period.  If you do not do so, you will lose 5 points on this project.

Calibration

The signal you get from the accelerometer circuit is not acceleration in m/s2. It is a voltage proportional to the actual acceleration.  In order to find the actual acceleration, you must calibrate the measurement.  If you look closely at the circuit diagram, you will see an output scale factor.  We need to use this to find the acceleration of our signal.

.  In this equation, g is the acceleration due to gravity, 9.8 m/s2, and the voltage from the accelerometer circuit, Va,  must be expressed in millivolts.  The expression R3/R1 represents the gain of the MAXIM op-amp circuit.  Since we are interested in accuracy in this experiment, the actual gain of the circuit should be used.  You can find this gain by comparing the amplitude of the signal at pin 10 of the accelerometer to the output of the MAXIM op-amp.  Once you have determined this gain, Gcircuit, it can be used to find the acceleration:  .   Using this scale factor, you can calculate ab[t] in m/s2 using the actual gain and the voltage from your circuit in volts.  You will need to include this calibration constant and how you found it in the appendix of your report. See appendix II of this handout for details.

Part 2 – Finding Acceleration using the Strain Gauge and Coil Outputs

This section discusses how to determine acceleration using the strain gauge and coil sensors you have used already in experiments 4 and 5.

Circuits

You have already built the following amplified strain gauge bridge circuit.  You have also used the coil sensor, which creates its own voltage.

Examining  the Signals

The strain gauge signal should be proportional to the change in position at the end of the beam.  The coil measurement is transient by definition because the coil only produces a voltage when the beam is oscillating. Therefore, the output from the magnetic pickup coil should be proportional to the velocity of the beam.  To verify this, we can simultaneously record the amplified strain gauge and coil signals after we pluck the beam.  (Don’t forget to balance the bridge before making this observation.)  What should the phase difference be if the two signals are proportional to position and velocity, respectively?

Calibration of the Strain Gauge Signal

You are given that the strain gauge signal is proportional to the displacement at the end of the beam, xb[t]:

We also know (from physics) that:

We can measure the displacement of the strain gauge directly using a ruler.  If we place the ruler at the end of the beam, move it up and down, and record both the distance and the voltage, we can use the data to find a direct relationship between the signal from the strain gauge and the actual displacement at the end of the beam.  Using it to determine acceleration is fairly straight forward.

Calibration of the Coil Signal

Unfortunately, we cannot measure the velocity of the beam directly, so we cannot use the same method as we did for the strain gauge to relate coil voltage to the velocity at the end of the beam.  We need another way to map the voltage to velocity in m/s.   If we match the amplitudes of the coil and strain gauge signals, however, we can derive a calibration constant for the coil.

If we match amplitudes of the two signals, then .  If we assume that we can ignore the decay, we can express the two signals as follows:

Vsg[t] = Asg sin((t)    and    Vc[t] = Ac cos((t)

We know that the coil signal, Vc, is a cosine wave because the derivative of the displacement (sine) is the velocity (cosine).  We also observe that they have the same frequency.

We also know that  and , therefore

But  and Vc[t] = Ac cos((t), so .

Now we can use our relationship from physics to find acceleration:

.

Matching the Amplitudes

In order to use our calibration constant for the coil, we must match the amplitudes of the two signals.  We can do this by adjusting the gain on the differential amplifier in the strain gauge circuit.  We can change the gain by changing the values of the resistors.  Observe the two signals: the output of the amplified strain gauge bridge and the coil.  How much more do you need to multiply the strain gauge output by in order to match the coil?  Replace the pairs of resistors in the differential amplifier until the two signals are equal in amplitude.  The closer the amplitude match, the better your final results will be.  If you need a pair of resistors that you don’t have in your kit, ask the staff.  Take a picture of the two signals with matched amplitudes.  Make sure the peak-to-peak voltage of each signal is displayed.  (If you cannot get the Vp-p soft key to work on the decaying sinusoid, use the cursors, or determine the amplitude manually.)

One of the best ways to show that the two signals (the amplified strain gauge bridge output and the pickup coil output) are comparable is to produce a Lissajous pattern that is close to a circle.  Do this.  (Note: You must use the same scale factor for both scope channels to demonstrate that the signals are the same amplitude. Changing the scale factors on the scope does not change the signal.)

You will need to include a picture of the two signals with matched amplitudes and the Lissajous figure in the appendix of your report. See appendix II of this handout for details.

Finding Calibration Constants

Once the amplitudes have been matched, we can determine the calibration constants for the strain gauge and coil.  Mount the accelerometer circuit to the beam.  (Since the coil calibration constant depends upon frequency and the frequency changes when the mass at the end of the beam changes, it is important to mount the accelerometer before the calibration information is taken.  It is also important to use the same beam every time and to place the accelerometer circuit at the same location at the end of the beam.)  Take data relating the voltage of the amplified bridge circuit to the displacement at the end of the beam.  You can use the scope or DMM to measure the voltage and a ruler to measure the change in height at the end of the beam.  In order to ensure a linear relationship, be careful not to over-deflect the beam.  Plot the data, verify that the relationship is linear, and determine the slope.  Include this information in your report.

The only additional information you need to find the calibration constant of the coil is the frequency of your signals.  Use your output to find the frequency in Hertz.  Calculate ( and determine the calibration constant for the coil.

You will need to include the calibration constants and how you found them in the appendix of your report. See appendix II of this handout for details.

Part 3 – Comparing the Signals

This section describes how to take and analyze your data using Excel.  Your final comparison of the data will be in units of acceleration, m/s2.

Taking the Data

Once you have everything working and you know your calibration constants, you can take your data in Excel and compare the two signals.  Since we have only two channels on the scope, you will need to take two sets of data: one comparing the strain gauge signal to the accelerometer signal and one comparing the coil signal to the accelerometer signal.

You are taking the derivative of a sinusoid, so we want to have data as close to a sinusoid as possible.  You may notice that the coil sometimes generates a signal that is almost triangular.  This is caused by secondary oscillations.  Move the beam gently in order to avoid this shape.  (If your coil is giving a signal that is not symmetric, then your magnet is not positioned far down enough in the coil.  Try adjusting it.  If the problem still does not go away, try another beam.)  The signal from the strain gauge and the accelerometer are generally sinusoidal.  The accelerometer signal will be noisy because of the internal cantilevers.  If it is too noisy, change the resistors in the MAXIM op-amp circuit to decrease the gain.

In order to get Excel to take a decent derivative, you need to give it enough information.  When you take a data from the two sets of signals, try to capture the sinusoidal nature of the signals, and not the decay.  Capture between 3 and 6 cycles of the signals at a point when they have a decent amplitude and look sinusoidal.  Use as many sample points as possible.  This will guarantee that you have enough points in the Excel data to successfully calculate the slope between successive points and get a good representation of the derivative.

You will need to include an Excel plot of this raw data in the appendix of your report. See appendix II of this handout for details.

Applying Calibration Constants

Once you have taken the data, multiply the signals by their calibration constants. You will have a different constant for the signal from the strain gauge, the coil, and the accelerometer.  Make sure that your constants convert the signals correctly to meters, meter/sec, and meters/sec2, respectively.

The Slope Function

The slope function in Excel (described in detail on the following page) can be used to take a derivative. It has the form “=SLOPE(B1:Bn, A1:An)”, where the A column is the x coordinate of the signal (time), the B column is the y coordinate, and n is the number of points to use for each slope calculation.

Note that the function uses a regression to determine a value for the slope at each point in the derivative based on at least two points in the function.  If you use successive points, “=SLOPE(B1:B2,A1:A2)”, then the output will be a set of points corresponding to the slope of each pair of points in the data.  Since your data contains noise, the slope between two successive points will not representative of the shape of the curve as a whole.  To get a good derivative in spite of the noise, you can use any number of points to determine the slope at each point.  It is best to start with 5-10 points in (X,Y) for each point in (X,Y’).  Adjust the number of points to smooth out the noise and get a good derivative.

Determine the value of the first point, C1, using = SLOPE(B1:B6,A1:A6). (Note: We are using six points as an example. You may need a different number depending upon your data.)  Copy the equation from C1 into all additional columns in C.  Excel will place the equation in each cell, adjusting the values from which it determines the point based on the index. [C2 will have  = SLOPE(B2:B7,A2:A7),  C3 will have  = SLOPE(B3:B8,A3:A8).... Cn-1 will have = SLOPE(Bn:Bn+5,An:An+5).]  Graph the data. Adjust the value of n until your derivative looks fairly smooth. Note: The second derivative of the strain gauge signal may not require as many points, since the noise has already been smoothed out.  Below is some additional information about the SLOPE function in Excel.

Mathematical Analysis

If you absolutely cannot get Excel to take the derivative of your data, you can use  mathematical representations of the signals instead. Your signals will be decaying sinusoids similar to the one shown on the next page.  [Note that this image was generated in PSpice, so the noise is simulated and the scale is not what you should expect from your strain gauge.]  You can model this mathematically by finding the approximate amplitude, frequency and decay.  You can then take the derivative of the model mathematically by hand or with Maple.

Find decaying sinusoids that most closely resemble the signals without the noise (fit the curve to the data). They will have the form: v(t)=A e-t sin(t), where =2f.  Apply the calibration constants to these equations and then take the derivative(s) mathematically to find the acceleration.  You will need to use another tool, like Maple, to generate pictures of the acceleration curves.  The data below is a curve fitted to the data.

You will not be penalized if you end up using this method, but you will need to include your analysis in the report.

Data Comparison

When you have successfully calibrated your signals and taken the correct derivatives, you should have two sets of signals that represent the acceleration at the end of the beam in m/s2.   Do the numbers you came up with make any sense at all?  Do you expect to find an acceleration much less than or much greater than 1g (9.8m/s2), for example?

You may not get perfect data.  If the amplitude match is within a factor of 10, it is acceptable, as long as you applied the correct procedure.  If you have particularly good data (and you used the correct procedure), then you may be eligible for extra credit.  Often it is because of factors that are out of your control (like the particular accelerometer you used) that interfere with the quality of your data.  We want to see honest data and a good discussion of possible error sources in your report.  Don’t forget to compare both the amplitude and phase of your signals.

Additional Questions

In the conclusion of your report, we want you to consider the following:

The commercial accelerometer can handle accelerations from as little as 1/100 g to up to 50 g’s.  Discuss the range of accelerations that you think the “cantilever beam accelerometer” is capable of sensing with some accuracy.  Your purpose here is to establish a reasonable range of applications that you could use the beam itself, with the output of its two sensors manipulated in Excel, to find acceleration.

Accelerometers are used extensively these days in cars.  How would you use accelerometer signals in a car to enhance the driving experience?  If there are so many accelerometers in present day cars, why is acceleration typically not displayed for the driver?

If you had a portable accelerometer, what would you do with it?

Details about the report conclusion are contained in appendix III of this handout. You will need to include an Excel (or Maple) plot of your final data in the appendix of your report.  See appendix II of this handout for details.

Part 4 – Extra Credit

The following discussion is offered for those who would like to go beyond the minimum requirements for the project and receive extra credit.

Really Good Data

If your data is especially consistent you are eligible for extra credit.  Take time in the extra credit section of the report to show that your calibration constants were found correctly and that they actually gave rise to the good data.  Do not come up with mysterious factors to make the data look good.  This will not get you any extra credit and will likely count against you on the remainder of the report.

Compare all three signals on the same plot

It would be nice to see all three signals (from the strain gauge, from the accelerometer, and from the coil) on the same plot in order to do a real comparison.  We cannot,  however, do this directly because we only have two scope channels.  You can use Excel to get the three signals on the same plot if you can determine a way to match the accelerometer signals from the two data samples.  If you can find a location where the amplitudes of both accelerometer signals are the same, you know that you have found a point in time at which the two signals can be matched.  By translating the time data from one set of signals so that the accelerometer signal amplitudes match in both sets, you can obtain a plot with all three signals on it.

Compare Velocities

You must calculate acceleration of the end of the strain gauge, but what about velocity?  If you take the signals from the strain gauge and the coil simultaneously, you can calibrate them, take the derivative of the strain gauge signal, and determine the velocity in m/s of the end of the beam.

Build a Circuit to take the Derivative(s)

The derivative of a signal can be taken in real time using either an op-amp differentiator (active differentiator) or a simple high pass filter (passive differentiator).  Both will modify the amplitude of the signal.  The active differentiator also introduces an inversion.  You can add one of these two devices to your circuit(s) to take the derivative electronically.  It is possible to make three different comparisons using these circuits.

- Take one derivative of the strain gauge signal and compare it to the coil signal.

- Take one derivative of the coil and compare it to the accelerometer.

- Take two derivatives of the strain gauge and compare it to the accelerometer.

You can simply demonstrate that the signals are proportional (display correct phase) using an Agilent picture.  If you’d like, you can go into more detail and determine the calibration constant for each signal. Then you can use Excel to convert the data to m/s or m/s2.  (Don’t forget that the differentiation circuits introduce an additional change in amplitude.) The more you do, the more extra credit you are eligible for.

The circuit pictured below can be used as an approximate differentiator

The transfer function for this circuit is given by: .  You know from experiment 2 that the transfer function will have a magnitude of 1 at high frequencies, but it will be governed by the following equation at low frequencies: .  This is equivalent to the equation of an ideal differentiator without the inversion.  Since your signal has a frequency of only around 20 hertz, this simple circuit may give you an adequate differentiation.  Note that this circuit will differentiate the signal and also multiply it by RC.  If you want to mathematically remove the amplitude change contributed by the circuit, but preserve the differentiation, you must divide your result by RC.

The following circuit is the active differentiator we covered in experiment 5.

The transfer function for this circuit is given by: at frequencies substantially below 1/(2(RinCin).  Note that this signal will differentiate the signal and also multiply it by -RfCin.  If you want to mathematically remove the effect of the gain, but preserve the differentiation of the circuit, you must divide your result by -RfCin.

You know from experiment 5, that the differentiator does not differentiate at all frequencies.  The same is true of the approximate differentiator.  (It is even more sensitive to frequency.)  In order to avoid wasting your time randomly swapping out components, it is best to build a simple test circuit in PSpice to find a good choice for the values of your components.  Build either one, the approximate or the active differentiation circuit, in PSpice using a sinusoidal source with the approximate amplitude and frequency of the signal you want to differentiate.  Put a 1Meg ohm resistor between the output of the circuit and ground to represent the load on the circuit from the scope.  Pick some values for R and C or Rin, Cin, and Rf using components you have in your kit.  Run a transient.  Are the input and output signals out of phase by about 90 degrees?  If the absolute value of the phase change is not near 90 degrees, the signal is not being differentiated.  Does the output have a reasonably high amplitude?  If the amplitude is too small, the signal will be lost in the noise.  You can now adjust the components experimentally to find a circuit that gives a reasonable differentiation of the signal at the input frequency.

Calibrate the Accelerometer Chip

In the spec sheet for the ADXL150 on page 12, there is a procedure that describes how to calibrate the accelerometer chip.  You will get better results if your chip has been calibrated, however, it is not necessary for this project.  We just accept that there will be errors due to the fact that the chips are not well calibrated.  You are free to calibrate your chip and you will receive extra credit for the attempt.  Note that this procedure involves building a more complicated circuit for the accelerometer.

Other Extra Credit Ideas

If you have something else you would like to try for extra credit, ask your professor.

Part 5 – Appendices

The following appendices summarize what you need to do, what the appendix of your report should contain, and what should be included in your report.

Appendix I:  Task List

A.  Build the accelerometer circuit

- Build the circuit on the small white protoboard.

- Have your circuit checked by a staff member.  This is important because the accelerometer chips are expensive and easily damaged if wired incorrectly.

- Mount the surfboard to the end of your beam.

- Test your circuit to make sure that it functions.

B.  Match the amplitudes of your coil and strain gauge signals

- Mount the accelerometer circuit to the beam.  (Remember different masses on the end of the beam result in different frequencies.)

- Put the signal from the amplified strain gauge (from experiment 5) on channel 1 and the signal from the coil on channel 2.

- Balance the strain gauge bridge.

- Compare the two signals when the voltage scales are the same.  Adjust the resistors on the differential amplifier of the strain gauge circuit until the amplitudes of the two signals match.

- Take a picture of the two signals with the amplitudes matched.  Make sure the amplitude or peak-to-peak voltages are indicated on the plot.  Include in Appendix A.

- Create a Lissajous figure of the two signals and include it in Appendix A.

- Determine the frequency of your signal and write it on your plot.

- Have the plot signed.

C.  Determine your calibration constants

- Balance the strain gauge bridge.

- Use a ruler to measure the displacement at the end of the beam and the DMM or scope to measure the corresponding voltage from your strain gauge bridge.  Record the voltage for at least three displacements of the end of the beam.

- Plot the relationship between output voltage and beam displacement.  Find the slope of the plot.  The slope relates the displacement at the end of the beam to the voltage from the strain gauge.  Express this constant is in meters/volt.  Include in Appendix B.

- Use the frequency of your circuit and the slope you found in 3 to relate the velocity at the end of the beam to the voltage signal from the coil.  Express this constant in meters/volt-sec.  Include in Appendix B.

- Put the signal from pin 10 of the accelerometer on channel 1 and the output from the MAXIM op-amp on channel 2.  Make sure the amplitude or peak-to-peak voltages are indicated on the plot.. Determine the gain of the MAXIM amplifier.  Have this plot signed.  Include in Appendix B.

- Use the gain from 5 to calculate the output scale factor of your accelerometer circuit.  This constant relates the voltage signal from the accelerometer to the acceleration at the end of the beam.  Express this constant in meters/volt-sec2.  Include in Appendix B.

D.  Take your data

- Using exactly the same circuits and beam that you used to determine the scale factors, attach the amplified strain gauge signal to channel 1 and the amplified accelerometer signal to channel 2.  Take data with Excel.  Use more data points than the default.

- Using exactly the same circuits and beam that you used to determine the scale factors, attach the coil signal to channel 1 and the amplified accelerometer signal to channel 2.  Take data with Excel.  Use more data points than the default.

E.  Analyze your data

- Strain Gauge vs. Accelerometer

  - Multiply your strain gauge signal by its calibration constant.  This gives you the displacement at the end of the beam in meters.  Take two derivatives using the SLOPE function in Excel to find the acceleration in m/s2.  If the signal does not look smooth enough, increase the number of points you use in the SLOPE function.

  - Subtract DC offset from accelerometer voltage signal. Multiply your accelerometer signal by its calibration constant.  This gives you the acceleration in m/s2.

  - Plot the two signals together.

- Coil vs. Accelerometer

  - Multiply your coil signal by its calibration constant.  This gives you the velocity at the end of the beam in m/s.  Take one derivative using the SLOPE function in Excel to find the acceleration in m/s2.  If the signal does not look smooth enough, increase the number of points you use in the SLOPE function.

  - Subtract DC offset from accelerometer voltage signal. Multiply your accelerometer signal by its calibration constant.  This gives you the acceleration in m/s2.

  - Plot the two signals together.

- If you cannot get the SLOPE function in Excel to work at all.  You can fit curves to your data for all four signals using the equation for a decaying sinusoid and do your analysis mathematically.

E. Assemble the appendix (as described in appendix II).

F. Write your group report (as described in appendix III).

Appendix II: The Appendix of Your Report

The following list of items must be included in the appendix of your report, numbered and ordered as listed.  This will help make sure that everyone includes everything that is required.  In your report you should refer to each appendix specifically as needed to help illustrate your descriptions and conclusions.  If you would like, you can include a second copy of what is in the appendix in order to better illustrate what you are trying to say, however, this is not necessary and cannot be used as a replacement for the contents of the appendix.

Appendix A: Matched Amplitudes

1.  Agilent plot of coil and strain gauge signals with matched amplitudes

* plot title

*  peak-to-peak voltage of each signal included on the plot

*  frequency written on plot

*  signature

2. Agilent plot of Lissajous figure of the two signals

* plot title

Appendix B: Calibration Constants

1.   Strain Gauge

*  plot of displacement vs. voltage for strain gauge circuit

*  determination of slope

*  calculation of calibration constant in meters/volt

2.  Coil

*  formula for finding calibration constant

*  calculation of constant in meters/volt-sec

3.  Accelerometer

*  plot of un-amplified and amplified accelerometer signal

-  plot title

- peak-to-peak voltage of each signal and gain on the plot

- signature

*  formula for finding calibration constant

*  calculation of constant in meters/volt-sec2

Appendix C: Raw Data

- Excel plot of amplified strain gauge voltage vs. amplified accelerometer voltage

*  plot title

- Excel plot of coil voltage vs. amplified accelerometer voltage

*  plot title

Appendix D: Final Data

- Excel plot of acceleration found using strain gauge signal and accelerometer signal in m/s2

*  plot title

- Excel plot of acceleration found using coil signal and accelerometer signal in m/s2

*  plot title

Appendix E: References (Must be included.)

*  Names of websites referenced

*  Title, author, etc. of any books used.

*  Any additional references

Appendix F: Extra Credit

*  Any additional materials you would like to include for extra credit

# Appendix III:  Your Group Report (20 points)

Introduction (1 pt)

*  State the purpose of the project.

*  Also include at least 2 topics you studied in this course that helped you understand

the project.

Theory (4 pts)

*  Describe the basic theory.  What is the relationship between displacement, velocity, and acceleration?  How does the accelerometer measure acceleration?  How does the strain gauge measure strain?  Why is the coil signal proportional to velocity?

*  Describe how the circuits work.  What are the basic elements of your strain gauge circuit?  What do they do? How does the accelerometer circuit work?

* Describe the calibration process. Why are calibration constants needed?  Where do the constants come from?

*  Use your own words and be sure to site any resources you used in appendix E.

*  Demonstrate to the grader that you understand what is happening.

Initial Design (5 pts)

1.  Accelerometer circuit

*  How did you build the accelerometer circuit?

*  Why is the signal from your circuit so noisy?

*  What is the gain of the accelerometer circuit?

*  What is the calibration constant for the accelerometer circuit?

* Include references to relevant material in the appendix.

2. Strain gauge and coil circuits

*  How did you match the amplitudes of the two circuits?

*  What was the initial difference in the amplitudes of the two voltages?

*  What resistors did you use to match the amplitudes?

*  What is the theoretical gain of your final amplified bridge circuit?

The actual gain?

*  Why are the two signals out of phase?  What is the phase difference?

*  What is the frequency of the signals?

*  What is the calibration constant for the strain gauge circuit?

*  What is the calibration constant for the coil circuit?

*  Include references to relevant material in the appendix.

Final Design (4 pts)

1.  Strain Gauge vs. Accelerometer

*  How did you determine your final signals?

*  Given the initial signal for the strain gauge, do your results look reasonable

based on your knowledge of the relationship between position, velocity, and

acceleration?

*  What is the maximum acceleration in m/s2 of each signal?

*  Include references to relevant material in the appendix.

2.  Coil  vs. Accelerometer

*  How did you determine your final signals?

*  Given the initial signal for the coil, do your results look reasonable

based on your knowledge of the relationship between velocity and

acceleration?

*  What is the maximum acceleration in m/s2 of each signal?

*  Include references to relevant material in the appendix.

Conclusions (4 pts)

- Summarize basic conclusions

*  Compare the acceleration found using the strain gauge to the acceleration found using the    accelerometer.  How close are they in phase and amplitude?

*  Compare the acceleration found using the coil to the acceleration found using the accelerometer.  How close are they in phase and amplitude?

*  Which sensor, the strain gauge or the coil, gave a signal closer to the acceleration found using the accelerometer?

- Address sources of error

*  Why did the signals not match exactly?

*  What were the sources of error in your experiment?

*  How could you improve your process or the experiment itself to get closer results?

- Answer the questions

*  Operating range of “cantilever beam accelerometer”

*  Use of accelerometers in cars

*  What would you do with an accelerometer?

- Discuss any extra credit activities you did and why.

Personal Responsibilities (1 pt)

*  How were the tasks divided between group members?

Appendices (1 pt)

* See appendix II of this handout

Extra Credit (0-2 pt)

* Include any details that you would like to include about anything you tried above and beyond the basics of the project.